MESSKO MPreC PRD Order Specification

Mark your preferences with an “X” in column 2 or write in expected data advice

| Customer |  |  |
| --- | --- | --- |
| PURCHASE ORDER # |  |  |
| Customer part # |  |  |
| Nominal Bore mm | 150 STANDARD |  |
| Operating Pressure PSI |  |  |
| Standard cover (00) |  | Oil exhausted FREE to air |
| Oil directed cover (06) |  | Oil DIRECTED to pipework |
| TERMINAL BOX (22) |  | 2 switch standard, M20 x 1.5 |
| DIRECT WIRED through CABLE GLANDS (12) |  | 2 switch standard, M20 x 1.5 |
| Internal compression gasket VITON | STANDARD | Seals plate under compression spring |
| External mounting gasket NITRILE 960729 |  | External gasket sealing mounting flange PCD 235 mm to transformer tank |
| External mounting gasket VITON |  | External gasket sealing mounting flange PCD 235 mm to transformer tank |
| Bleed screw (0) | STANDARD | Bleeds air from tank during installation |
| Semaphore (0) |  | Extra flag on top of cover to indicate operation – default is smaller striker pin |